## Schedule 19 - EREM
Contract: BFI01/23/E2SC2
Part C2: Pricing Data
Section C2.2: Bill of Quantities
Schedule 19: Removal of existing equipment
Item | Pay. | Description | Unit | Qty | Rate | Amount
| Ref. |  |  |  | (R) | (R)
| EREM | SCHEDULE NO.19
REMOVAL OF EXISTING ELECTRICAL AND ELECTRONIC EQUIPMENT
19.1 | EREM | SCHEDULE NO: 19.1 - REMOVAL AND DELIVERY OFF SITE
Dismantle, remove and dispose of existing electrical and
electronic equipment off site to a spoil site
established by the Contractor
Removal of existing cables in the following size range
19,1.1 | EREM | 1.5mm² - 10mm² | m | 13186
Removal of existing cables in the following size range
19,1.2 | EREM | 16mm² - 50mm² | m | 1120
Removal of existing cables in the following size range
19,1.3 | EREM | 50mm² - 150mm² | m | 1807
Removal of existing motor control centre (1 -2 tier)
19,1.4 | EREM | Height - 2.1m | No. | 12
Removal of existing motor control centre (1 -4 tier)
19,1.5 | EREM | Height - 2.1m | No. | 1
Removal of existing motor control centre (1 -6 tier)
19,1.6 | EREM | Height - 2.1m | No. | 1
Removal of existing small power and lighting
19,1.7 | EREM | distribution boards | No. | 4
19,1.8 | EREM | Removal of existing cable ladders | m | 312
19,1.9 | EREM | Removal of existing conduit | m | 480
19,1.10 | EREM | Removal of existing lights | No. | 60
SCHEDULE NO. 19
REMOVAL OF EXISTING ELECTRICAL AND ELECTRONIC EQUIPMENT
|  | Carried forward to Summary of Schedules |  |  | Total